## list medical devices
snowmed CT code | snowmed CT Preferred name
449071006 | Mechanical ventilator
706043007 | Patient Monitor
706041009 | Infusion Pump

## alarm conditions
alarm condition | SNOMED CT code of finding | Device | SNOMED CT code of device | SpO2 | sys BP | dia BP | MAP | HR | Temp | RR | Peak pressure | Circuit pressure | Line pressure | Volume
Low SpO₂ | 271442007 | Patient Monitor |  | 91
High SpO₂ | 271443002 | Patient Monitor |  | 99
Hypoxemia | 75367002 | Patient Monitor
High Blood Pressure | 271649006 | Patient Monitor |  |  | 180 | 110
Low Blood Pressure | 271650006 | Patient Monitor |  |  | 90 | 60 | 65
Tachycardia | 386661006 | Patient Monitor | [5 empty] | 110
Bradycardia | 48867003 | Patient Monitor | [5 empty] | 60
Apnea | 1023001 | Mechanical ventilator | [7 empty] | 0
High Airway Pressure | 704626004 | Mechanical ventilator | [8 empty] | 40
Low Airway Pressure | 704626004 | Mechanical ventilator | [8 empty] | 7
Ventilator Disconnect | 704626004 | Mechanical ventilator | [9 empty] | 0
Infusion Pump Occlusion | 704626004 | Infusion Pump | [10 empty] | 500
Empty Syringe/Reservoir | 704626004 | Infusion Pump | [11 empty] | 0
High Temperature | 386661003 | Patient Monitor | [6 empty] | 38.5
Low Temperature | 271442005 | Patient Monitor | [6 empty] | 35
Note on K9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: no breath detected for 20 seconds
Note on M12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: sudden drop to 0

## Link of "Devices" to beds
Bed ID | Device
5 | Patient Monitor
6 | Patient Monitor
7 | Mechanical ventilator
7 | Patient Monitor
7 | Infusion Pump
8 | Mechanical ventilator
8 | Patient Monitor
8 | Infusion Pump
9 | Mechanical ventilator
9 | Patient Monitor
9 | Infusion Pump
4 | Patient Monitor
4 | Infusion Pump